A.    Weighing Scales  card (set of two cards)

[image: image1.jpg]



· All standard functions.

· Backward movement possible during programming.

· Most stable counts.

· Same card works for count, buzzer /  kg / liter function.

· On board buzzer mounting option.

· Super power save mode for very low current & enhanced battery life.

· Intensity control.

-----------------------------------------------------------------------------------------------------------
B.    Combo card - PT4 (set of one card)
[image: image2.jpg]—ﬁup_q_h__
Ao

il

-4 i “*:_“f

S8 LB BB BRERAPO SN E RREALY HBRAS
JP1
i (e ——
LOCK|« « » Upen

.





   [image: image3.jpg]i' G S | o. = = R : "
‘ ‘ ; p : »
. R . G o o = el S 3, . . - RN
FHY s b }¥'eog 20¢ 96 20€ € o - g
‘_ &a- e ~ d;? € € F °p ¢  CEE
‘ S e B o i ; ; : | : 4 ' = é
TR T e S e g |
% o 9 9 ' | B . & | e o0 &
g o -0 . - <« £ !
d "o © TE.., L] ' . » '
: o Q : & .. Q :
i o * ' ® < L L3
2 a_ —h ) e =
o= ~ cCoOorcc e o € &
L .. epr e ceeeee ” AR
TS R 10000008080 00000C08 o eeE ® ®
g 5 O o O B ‘c;cz OO....... 0.'.’ » >
i & o y | -
re a5 ssb0 0 -' e { > o
2 e etrfeeeece | “uu . - B
e ® [ e 0 | ® & =
ol dfeoeinptBoce S00RCAEC0Q0000CECOCEE Sl o
f . . . ¥ :I " ‘ u
TYY e ® ®eme spooetee setleR.ue¢t. g
= f fecfiofeonen oR | p gl ®
: < .





· All standard functions.
· Combined card for MB, PSU & 1 Display (6 digits).
· Backward movement possible during programming.

· Most stable counts.

· Same card works for count, buzzer /  kg / liter function.

· On board buzzer mounting option.

· Super power save mode for very low current & enhanced battery life.

· Intensity control.

-----------------------------------------------------------------------------------------------------------
C.    Price scale card (set of 4 cards)

[image: image4.jpg]



Price scale card (set of 4 cards)
· 6 digit x 3 line display.
· Support 8x4 keypad, 32 keys.
· 12 direct + 12 shift = 24 hotkeys.
· 99 PLU
· Printer support
· Up to 15 entry MPLUS in single bill. View with forward/backward

movement to see all MPLUS entries as wt-rt-amt & total item-amt.
· Same card set with same controller can be used in 2 modes:-
I. Weight - rate - amount mode for price scale for kirana shops.
II. Weight - unit weight - quantity mode for count scale for industrial work, in platform scales.

· Very simple operation. Covers all standard functions.
-----------------------------------------------------------------------------------------------------------
D.    Jwellary card - big card (set of 4 cards)
[image: image5.jpg]



· 5530/5532 based.
· Excellent zero tracking, weight tracking.
· Suitable for 600/10 or 300/05 machines.
· Three stage calibration for perfect linearity.
· Gram/tola/carrot/piece count modes.
· 6 keys. Zero, Mplus/print, MR, Unit, Tare & Brightness.
· Separate key for zero & tare. 
· Intensity control on key is very handy.
· 9 LED’s. Mains/battery, Print, Pieces, Carrot, Toal, Gram, Stability, Tare, Zero.
· Separate ports for external display & external printer.
· All standard features.
--------------------------------------------------------------------------------------------------------------
E.    Jwellery card - small card (set of 2 cards)

   [image: image6.jpg]



· 5530/5532 based.

·  Excellent zero tracking, weight tracking.

· Suitable for 600/10 or 300/05 machines.

· Three stage calibration for perfect linearity.

· Gram/tola/carrot/piece count modes.

· All standard features.

--------------------------------------------------------------------------------------------------------------
PRIME Telelink Pvt. Ltd.





F-76(A1), Road 5C, V.K.Industrial Area,





JAIPUR - 302013 (INDIA)





Phone 
: +91-141-2338392, 2337737




  


  +91 - 9414144444





Fax 

: +91-141-2339818


Email 
: prime44a@yahoo.com
  mail@primetelelink.com


Website
: www. primetelelink.com
